## Medical Service Related Informa
SL No | Office | District Name | Name of the Hospital | Upazilla | Filled up Form | Remarks
1 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex, Nalchity. | nalchity | 1 xlsx
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia | kathalia | 1 xlsx
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur | rajapur | 1 xlsx
4 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 1 xlsx | na
5 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 1 xlsx | na
6 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 1 xlsx | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 1 xlsx | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 1 xlsx | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 1 xlsx | The new 50 bed hospital is under construction. Earlier there was no hospital in this Upazila.
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex Mirzaganj, Patuakhali. | mirzaganj | 1 xlsx | N/A

## General Information
SL No | Office | District Name | Name of the Hospital | Upazilla | Year of Establishment | Construction agency | Availability of Additional Land | Number of Beds of Existing Hospital Building | Digital Survey Map (CAD and PDF) | Soil Test Report (click i button for detail) | As Built Arc Drawing of Existing Hospital Building (Floor Plans) | Layout of Hospital (At least Hand Drawn) | Plinth Area of Existing Hospital Bldg (sqft) | Floor Area (sft by each floor) | Master Plan of Campus (Demarking Visually Vulnerable Buildings) | Attach Land Records (if any) | Visual Evidence of the area (Image or video) | Flood Level Information | Remarks (Additional Information)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 2012 | HED | 0 | 50 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7260 | Ground Floor Area-7260 Sq.ft, First Floor Area-6331 Sq.ft, Second Floor Area-4575 Sq.ft | 1 dwg | No file | 3 jpegs | 2 Ft
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 2012 | HED | 0 | 19 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7265 | Ground Floor Area-7265 Sq.ft, First Floor Area-6570 Sq.ft, Second Floor Area-4196 Sq.ft. | 1 dwg | No file | 3 jpegs | 2 Ft
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 1975 | PWD | 0 | 31 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 8830 | Ground Floor Area-8830 Sq.ft, First Floor Area-8416 Sq.ft | 1 dwg | No file | 10 jpegs | 1.5 Ft
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur ((New Building) | rajapur | 2012 | HED | 0 | 19 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7265 | Ground Floor Area-7265 Sq.ft, First Floor Area-6331 Sq.ft | 1 dwg | No file | 8 jpegs | 2 Ft
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 1975 | PWD | 0 | 31 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 8659 | Ground Floor Area-8659 Sq.ft, First Floor Area-8186 Sq.ft. | 1 dwg | No file | 9 jpegs | 2 Ft
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 1984 | PWD | 4.27 acre | 50 | 1 dwg | No file | No file | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 7 jpegs | 2 ft | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 2007 | HED | 6.98 acre | 50 | 2 dwgs | No file | No file | No file | 16560 | GF-16560.00, 1st.F-14362.00, 2nd.F-5619.00, 3rd.F-5619 | 2 dwgs | No file | 6 jpegs | 2 ft | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 2011 | HED | 5.95 acre | 50 | 1 dwg | No file | 1 jpeg | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 4 jpegs | 2 ft | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 2005 | HED | 6.15 acre | 50 | 1 dwg | No file | No file | No file | 14362 | GF-14362.00, 1st.F-14362.00, 2nd.F-5619.00 | 1 dwg | No file | 3 jpegs | 3 ft | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 2010 | HED | 5.90 acre | 50 | 1 dwg | No file | No file | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 4 jpegs | 2 ft | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 1980 | HED | 4 acre | 50 | 1 dwg | No file | No file | No file | 6710 | 6360 | 1 dwg | No file | No file | N/a | No
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 202 | HED | 5.44 acre | 50 | 1 dwg | No file | No file | No file | 3 | 0 | 1 dwg | No file | 8 jpegs | 3 ft | na

## Civil Related
SL No | Office | District Name | Name of the Hospital | Upazilla | Building Height (PL to Top in ft) | PL Height (EGL to PL in ft) | Existing Floor Number | Foundation Type | Foundation Capacity (floor number) | Structure Type | Structural Condition of Main Hospital Bldg (Describe) | Structural Assessment Report | Vertical Extension (possible or not-possible) | Previous Renovation History | Remarks (Additional Information)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex (New Building) | nalchity | 43 | 2 | 3 | Deep | 3 | RCC | New Building: Good Condition | No file | Possible | No
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 33 | 2 | 3 | Deep | 3 | RCC | Structural Condition : Good | No file | Possible | No
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 32 | 1.5 | 2 | Footing | 2 | Load Bearing Brick | Old Building : Not Good | No file | Not Possible | No
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 32 | 2 | 2 | Deep | 2 | RCC | New Building: Good, | No file | Possible | No
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 30 | 1.5 | 2 | Footing | 2 | Load Bearing Brick | Old Building : Not Good | No file | Not Possible | No
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 11 | 2 | 2 | Footing | 2 | RCC | Since the building was built a long time ago, no upward extension can be done | 2 jpegs | Not Possible | na | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 11 | 2 | 4 | Deep | 4 | RCC | well | 2 jpegs | info not available | na | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 11 | 2 | 2 | Deep | 4 | RCC | Good | 2 jpegs | Possible | Regular | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 11 | 2 | 3 | Deep | 4 | RCC | Since the building was built a long time ago, no upward extension can be done | 5 jpegs | Possible | na | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 11 | 2 | 2 | Footing | 4 | RCC | Since the building was built a long time ago, no upward extension can be done | 5 jpegs | Not Possible | na | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 12 | 3 | 4 | Deep | 4 | RCC | Good | No file | Not Possible | N/A | N/A
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 12 | 3 | 3 | Deep | 4 | RCC | well | 4 jpegs | Possible | na | na

## Water Supply and Sanitation
SL No | Office | District Name | Name of the Hospital | Upazilla | Capacity of Existing UGWR (gal) | Number of Deep Tubewell | Additional Water Supply Facility (Describe) | Sewage or Waste Management Facility | Capacity of Sewerage or waste management (cft) | Presence of Rainwater Harvesting Facility | Capacity of Rain Water Harvesting (gal) | Existing Drainage Facility (Describe) | Required Drainage Facility (Describe) | Nearest Waste & Water Disposal Location (Describe) | Remarks (Any other issues will be Described here)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex, Nalchity. (New Building) | nalchity | 0 | 0 | No | Others |  | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 1 | No | Septic Tank | 0 | No | 0 | Master drain connect with adjacent river | No | Inside hospital compound
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 1 | No | Others | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | No | Others | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 1 | No | Septic Tank | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 0 | 1 | no | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 0 | 1 | Pond | Others | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 1 | Pond | Others | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 10000 | 1 | pond | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 0 | 1 | no | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 0 | 1 | N/A | Septic Tank |  | Yes | 0 | Surface Drain | Rcc Master Drain | Govt Land to Shimonto River
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 30000 | 1 | 0 | Others | 0 | No | 0 | 0 | 0 | 0 | 0

## Ancillary Civil Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Existing boundary wall with retaining wall (ft) | Existing boundary wall without retaining wall (ft) | Additionally Required boundary wall with retaining wall (ft) | Additionally Required boundary wall without retaining wall (ft) | Width of The Main Road (Municipality or City Corp) In front of Hospital (ft) | Internal Road Scenario (Describe) | Existence of Link Corridor | Requirement of Site Improvement | Remarks (additional information)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 2109 | 0 | 0 | 10 | RCC Road ,Wide-8 ft, Length-946 ft. | No | No
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 0 | 0 | 0 | 0 | 0 |  | Yes | No
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 2697 | 0 | 0 | 15 | RCC Road ,Wide-8 ft, Length-1450 ft. | Yes | Yes
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | 0 | 0 | 0 |  | Yes | No
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 1948 | 0 | 0 | 30 | RCC Road ,Wide-8 ft, Length-1593 ft. | Yes | Yes
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 285 | 1360 | 357 | 113 | 12 | 12 | No | Yes | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 210 | 1861 | 160 | 330 | 20 | Rcc | Yes | Yes | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 301 | 2613 | 313 | 87 | 16 | Rcc, Carpeting, 12 rft wide | Yes | Yes | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 250 | 1384 | 256 | 319 | 16 | 12 | Yes | Yes | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 490 | 561 | 351 | 284 | 16 | 12 | No | Yes | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 225 | 300 | 280 | 239.98 | 16 | 12 | Yes | Yes | No
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 225 | 300 | 280 | 2238 | 16 | 12 | Yes | Yes | na

## Electromechanical Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Present Number of Lift | Number of Usable Lift (if present) | Lift Related Additional Info (If any) | Present AC Capacity (Ton) | Additional AC Requirement (Ton) | AC Related Additional Info (If any) | Present Situation of Fire Detection and Protection System | Present Total HP of Submersible Pump | Present Total HP of Centrifugal Pump | Pump Related Additional Info (Demand, Repair need etc) | Medical Waste Management System | Medical Waste Related Additional info (Capacity, Demand etc)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 0 | No | 10 | 10 | No | No | 2 | 0 | No | Not Present | No
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 0 | 0 | No | 10 | 10 | No | No | 0 | 0 | No | Others | No
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 0 | No | 12 | 10 | No | No | 3 | 0 | No | Others | No
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | No | 10 | 6 | No | No | 0 | 0 | No | Others | No
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 0 | No | 20 | 25 | No | No | 3 | 0 | No | Others | No
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 0 | 0 | 0 | 4 | 24 | Ceiling Fan | no | 1 | 0 | Submersible pump with Deep tube well | Not Present | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 0 | 0 | Stair, Ramp | 8 | 22 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Not Present | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 0 | Stair, Ramp | 2 | 16 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Others | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 0 | 0 | 0 | 8 | 30 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Others | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 0 | 0 | 0 | 4 | 22 | Ceiling Fan | no | 1 | 0 | Submersible pump with Deep tube well | Not Present | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 0 | 0 | Use Link Corridor in lieu of Lift | 4 | 10 | Use Ceiling Fan | at present several number of fire extinguisher | 2 | 1 | Submersible pump with deep tubewell | Not Present | no
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not Present | na

## External Electrification
SL No | Office | District Name | Name of the Hospital | Upazilla | Connection Provider | Can Provider Provide Apprx 1250 kVA Load? | Existing Actual Usage of Power or Load (kVA) | Present Total KVA Capacity of Substation | Reusable KVA of substation | Situation of Substation Components (LT HT PFI MDB etc) | Existing Total KVA Capacity of Generator | Additional Requirement of Generator (KVA) | Present Usable Capacity of on grid solar (kWp) | Present Capacity of Ring Main Unit (number of out going connection) | Detailed Description of incoming Service Cable (RM, Type and Length of HT or LT) | Detailed Description of Service Cable (RM and Length for FDB, MDB, ELT, NLT etc) | Remarks (Provide any additional information here)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | PDB | No | 12 | 0 | 0 | No | 0 | 5 | 0 | 0 | No | No
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | REB | Yes | 20 | 0 | 0 | No | 0 | 5 | 0 | 0 | No | No
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | REB | Yes | 20 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | REB | Yes | 15 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | REB | Yes | 30 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-37 rft | 4rm, Length-417 rft | NA
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | REB | Yes | 220 | 250 | 30 | LT | 10 | 30 | 0 | 1 | 10rm, HT Length-92 rft | 4rm, Length-197 rft | NA
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | REB | Yes | 100 | 150 | 50 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-107 rft | 4rm, Length-121 rft | NA
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | REB | Yes | 150 | 150 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-107 rft | 4rm, Length-227 rft | NA
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-67 rft | 4rm, Length-220 rft | NA
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-67 rft | 4rm, Length-161 rft | N/A
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | REB | No | 0 | 0 | 0 | LT | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Ancillary EM Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Presence of Medical Gas System | Capacity of Medical Gas Plant if any (LPM) | Number of bed having Medical Gas Facility if any (nos) | Medical Gas Related Additional Info (describe) | Presence of Compound and Security Light | Presence of Sound and PA System | Presence of computer networks | Presence of PABX System | Presence of CCTV system | Number of Neon Poly sign board | Requirement of any ancillary items (Describe in detail) | Remarks (For any Additional Information)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | Yes | 0 | 10 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | Yes | 0 | 0 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | Yes | 0 | 8 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 20 pcs
4 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | Yes | 0 | 11 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
5 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | Yes | 0 | 9 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 20 pcs
6 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | Yes | 1 | NA | NA
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | 0 | na
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | No | 0 | 0 | 0 | No | No | No | No | No | 0 | 0 | 0

## Other Buildings
SL No | Office | District Name | Name of the Hospital | Upazilla | Building Name | Building No (if any) | Year of Construction | Number of Floors | Plinth Area (sqft) | Total Floor Area (sqft) | Current Condition (Describe) | Floor Plan (if any) | Visual Evidence (Image and Video) | Remarks (Additional Information)
1 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia | kathalia | 1 | [6 empty] | No file | No file
2 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity | nalchity | Upazilla Health Complex, Nalchity | 2 | 2012 | 3 |  |  |  | No file | No file
3 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur | rajapur | 1 | [6 empty] | No file | No file
4 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | NA | na | 2015 | 0 | 0 | 0 | well | 3 jpegs | 4 jpegs | na
5 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | NA | na | 1993 | 0 | 0 | 0 | Repair and renovation are not eligible | 4 jpegs | 7 jpegs | na
6 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | Pump House | 1 | 1984 | 1 | 240 | 240 | Repair and renovation are not eligible | No file | No file | na
7 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | Oxigen room | 1 | 1984 | 1 | 242 | 242 | Repair and renovation are not eligible | No file | No file | na
8 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 0 | 2017 | 0 | 0 | 0 | Repair and renovation are not eligible | 3 jpegs | 5 jpegs | na
9 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | NA | na | 2017 | 0 | 0 | 0 | well | 4 jpegs | 4 jpegs | na
10 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | NA | na | 1994 | 0 | 0 | 0 | 0 | 5 jpegs | 5 jpegs | na
11 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | NA | 13 | 1994 | 2 | 0 | 0 | 0 | 2 jpegs | 7 jpegs | na
12 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | Upazila Model Mosque | 1 | 2023 | 3 | 11500 | 20000 | Structure works Done as well as Finishing Works on going | No file | No file | na
13 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 1 jpeg | 6 jpegs | na