## General Information
SL No | Office | District Name | Name of the Hospital | Upazilla | Number of Beds of Existing Hospital Building | Digital Survey Map (CAD and PDF) | Soil Test Report | As Built Arc Drawing of Existing Hospital Building (Floor Plans) | Layout of Hospital (At least Hand Drawn) | Master Plan of Campus (Demarking Visually Vulnerable Buildings) | Visual Evidence of the area (Image or video) | Remarks (Additional Information)
1 | Division - Patuakhali PWD Division | Gazipur | patua sadar hosp | kaliakoir | 15 | No file | No file | 1 pdf | No file | No file | No file
2 | Division - Patuakhali PWD Division | Patuakhali | patua sadar hosp | sadar | 15 | No file | No file | 1 pdf | No file | No file | No file
3 | Division - Patuakhali PWD Division | Rangamati | Balaganj Upazilla Health Complex | baghaichhari | 20 | No file | No file | 1 pdf | No file | No file | No file
4 | Division - Sylhet PWD Division | Faridpur | alphaanga hospital | alfadanga | 52 | No file | No file | No file | No file | No file | No file

## Civil Related
SL No | Office | District Name | Name of the Hospital | Upazilla | Building Height (PL to Top in ft) | PL Height (EGL to PL in ft) | Existing Floor Number | Foundation Type | Foundation Capacity (floor number) | Structure Type | Condition of roof (Describe) | Vertical Extension (possible or not-possible) | Remarks (Additional Inforamtion)

## Water Supply and Sanitation
SL No | Office | District Name | Name of the Hospital | Upazilla | Existing Under Ground Water Reservoir (gal) | Number of Deep Tubewell | Additional Water Supply Facility (Describe) | Sewage or Waste Management Facility | Capacity of Sewerage or waste management (cft) | Presence of Rainwater Harvesting Facility | Capacity of Rain Water Harvesting (gal) | Existing Drainage Facility (Describe) | Required Drainage Facility (Describe) | Nearest Waste & Water Disposal Location (Describe) | Remarks (Any other issues will be Described here)

## Ancillary Civil Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Existing boundary wall with retaining wall (ft) | Existing boundary wall without retaining wall (ft) | Additionally Required boundary wall with retaining wall (ft) | Additionally Required boundary wall without retaining wall (ft) | Width of The Main Road (Municipality or City Corp) In front of Hospital (ft) | Internal Road Scenario (Describe) | Existence of Link Corridor | Requirement of Site Improvement | Remarks (additional information)

## Electromechanical Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Present Number of Lift | Number of Usable Lift (if present) | Lift Related Additional Info (If any) | Present AC Capacity (Ton) | Additional AC Requirement (Ton) | AC Related Additional Info (If any) | Present Situtaion of Fire Detection and Protection System | Present Total HP of Submersible Pump | Present Total HP of Centrifugal Pump | Pump Related Additional Info (Demand, Repair need etc) | Medical Waste Management System | Medical Waste Related Additional info (Capacity, Demand etc)

## External Electrification
SL No | Office | District Name | Name of the Hospital | Upazilla | Connection Provider | Can Provider Provide Apprx 1250 kVA Load? | Existing Actual Usage of Power or Load (kVA) | Present Total KVA Capacity of Substation | Reusable KVA of substation | Situation of Substation Components (LT HT PFI MDB etc) | Existing Total KVA Capacity of Generator | Additional Requirement of Generator (KVA) | Present Usable Capacity of on grid solar (kWp) | Present Capacity of Ring Main Unit (number of out going connection) | Detailed Description of incoming Service Cable (RM, Type and Length of HT or LT) | Detailed Description of Service Cable (RM and Length for FDB, MDB, ELT, NLT etc) | Remarks (Provide any additional information here)

## Ancillary EM Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Presence of Medical Gas System | Presence of Compound and Security Light | Presence of Sound and PA System | Presence of computer networks | Presence of PABX System | Presence of CCTV system | Number of Neon Poly sign board | Requirement of any ancillary items (Describe in detail) | Remarks