## Medical Service Related Informa
SL No | Office | District Name | Name of the Hospital | Upazilla | Filled up Form | Remarks
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | No file
2 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | No file
3 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex | bakerganj | No file
4 | Division - Barishal PWD Division | Barishal | Banarapara Upazilla Health Complex | banaripara | 1 xlsx
5 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | No file
6 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | No file
7 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | No file
8 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | No file
9 | Division - Barishal PWD Division | Barishal | Wazirpur | wazirpur | No file
10 | Division - Bhola PWD Division | Bhola | Borhanuddin Upazila Health complex | burhanuddin | 1 xlsx
11 | Division - Bhola PWD Division | Bhola | lalmohon health complex | lalmohan | 1 xlsx
12 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Charfashion, Bhola | char_fasson | 1 xlsx
13 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Daulatkhan, Bhola | daulatkhan | 1 xlsx
14 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Manpura, Bhola | manpura | 1 xlsx
15 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Tazumuddin, Bhola | tazumuddin | 1 xlsx
16 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex, Nalchity. | nalchity | 1 xlsx
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia | kathalia | 1 xlsx
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur | rajapur | 1 xlsx
19 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 1 xlsx | na
20 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 1 xlsx | na
21 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 1 xlsx | na
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 1 xlsx | na
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 1 xlsx | na
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 1 xlsx | The new 50 bed hospital is under construction. Earlier there was no hospital in this Upazila.
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex Mirzaganj, Patuakhali. | mirzaganj | 1 xlsx | N/A

## General Information
SL No | Office | District Name | Name of the Hospital | Upazilla | Year of Establishment | Construction agency | Availability of Additional Land | Number of Beds of Existing Hospital Building | Digital Survey Map (CAD and PDF) | Soil Test Report (click i button for detail) | As Built Arc Drawing of Existing Hospital Building (Floor Plans) | Layout of Hospital (At least Hand Drawn) | Plinth Area of Existing Hospital Bldg (sqft) | Floor Area (sft by each floor) | Master Plan of Campus (Demarking Visually Vulnerable Buildings) | Attach Land Records (if any) | Visual Evidence of the area (Image or video) | Flood Level Information | Remarks (Additional Information)
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex (19 Bed Building) | agailjhara | 2006 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 5881 | 5881 | 1 dwg | No file | 1 jpeg | 1 ft | Building Condition is good but need to rapair
2 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex (31 Bed Building) | agailjhara | 1974 | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 9148 | 9148 | 1 dwg | No file | 1 jpeg | 1 ft | Building Condition is not good
3 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex (19 Bed Building) | babuganj | 2017 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 7843 | 7843 | 1 dwg | No file | 1 jpg | 1 ft
4 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex (31 Bed Bulding) | babuganj | 1963 | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 5275 | 5275 | 1 dwg | No file | 1 jpeg | 1 ft
5 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex (31 Bed Building) | bakerganj | 2018 | HED |  | 19 | 1 dwg | No file | No file | No file | 8098 | 8098 | 1 dwg | No file | 1 jpeg | 1 ft | Building Condition is good.
6 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex (31 Bed Building) | bakerganj | 1970 | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 11113 |  | 1 dwg | No file | 1 jpeg | 1 ft | Building Condition is not good. Concrete spalling out found. Cracks in beams, columns and slab found.
7 | Division - Barishal PWD Division | Barishal | Banarapara Upazilla Health Complex (19 Bed Building | banaripara | 2007 | HED | Yes | 19 | 1 dwg, 1 pdf | No file | No file | No file | 5394 | 5394 | 1 dwg, 1 pdf | No file | 1 jpeg | 1 ft | Building Condition is not good enough.
8 | Division - Barishal PWD Division | Barishal | Banaripara Upazilla Health Complex (31 Bed Building) | banaripara | 1974 | PWD | Yes | 31 | 1 dwg, 1 pdf | No file | No file | No file | 10490 | 10490 | 1 dwg, 1 pdf | No file | 1 jpeg | 1 ft | Building Condition is not good. Concrete spalling out found.
9 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex (19 Bed Building) | gournadi | 2006 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 6475 | 6475 | 1 dwg | No file | 1 jpeg | 1 ft
10 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex (31 Bed Building) | gournadi | 1989 | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 12475 | 12475 | 1 dwg | No file | 1 jpeg | 1 ft
11 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex (19 Bed Building) | hizla | 2018 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 6641 | 6641 | 1 dwg | No file | 2 jpegs | 1 ft | Building Condition is not good. Concrete spalling out found. Cracks in slab found.
12 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex (31 Bed Building) | hizla |  | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 11330 | 11330 | 1 dwg | No file | 1 jpeg | 1 ft | Building Condition is not good. Concrete spalling out found. Cracks in beams, columns and slab found.
13 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex (19 Bed Building) | mehendiganj | 2018 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 9443 | 9443 | 1 dwg | No file | 1 jpeg | 1 ft
14 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex (31 Bed) | mehendiganj | 1980 | PWD | Yes | 31 | 1 dwg | No file | No file | No file | 7395 | 7395 | 1 dwg | No file | 2 jpegs | 1 ft
15 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex (19 Bed Building) | muladi | 2017 | HED | Yes | 19 | 1 dwg | No file | No file | No file | 7519 | 7519 | 1 dwg | No file | 1 jpeg | 1.5 ft | Building Condition is good.
16 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex (31 Bed Building) | muladi | 0 | HED |  |  | 1 dwg | No file | No file | No file | 6910 | 6910 | 1 dwg | No file | 1 jpeg | 1.5 ft | Building was under construction. Upto short column has been completed. The construction work has been stopped for 2 years. Column reinforcement Corrosion found.
17 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex (50 Bed Building) | wazirpur | 2010 | HED | Yes | 50 | 1 dwg | No file | No file | No file | 7440 | 7440 | 1 dwg | No file | 2 jpegs | 1.5 ft | Building Condition is good
18 | Division - Bhola PWD Division | Bhola | Borhanuddin Upazila Health complex | burhanuddin |  | HED |  | 19 | 1 pdf | No file | No file | No file | 7645 | 3600 | No file | No file | 1 jpeg
19 | Division - Bhola PWD Division | Bhola | Char_fasson Upazila Health complex | char_fasson | 2023 | HED |  | 100 | 1 pdf | No file | No file | No file | 20640 | 8250 | No file | No file | 1 jpeg
20 | Division - Bhola PWD Division | Bhola | Daulatkhan Upazila Health complex | daulatkhan | 1968 | PWD |  | 50 | 1 pdf | No file | No file | No file | 4450 | 2000 | No file | No file | 1 jpeg
21 | Division - Bhola PWD Division | Bhola | Lalmohan Health Complex | lalmohan | 2011 | HED | NO | 50 | 1 pdf | No file | No file | No file | 7373 | 3050 | 1 pdf | No file | 1 jpeg
22 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Manpura, Bhola | manpura | 2014 | HED | N/A | 50 | 1 pdf | No file | No file | No file |  |  | No file | No file | 1 jpeg
23 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Tajumuddin | tazumuddin | 2014 | HED |  | 50 | 1 pdf | No file | No file | No file | 7696 | 3700 | No file | No file | 1 jpeg
24 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 2012 | HED | 0 | 50 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7260 | Ground Floor Area-7260 Sq.ft, First Floor Area-6331 Sq.ft, Second Floor Area-4575 Sq.ft | 1 dwg | No file | 3 jpegs | 2 Ft
25 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 2012 | HED | 0 | 19 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7265 | Ground Floor Area-7265 Sq.ft, First Floor Area-6570 Sq.ft, Second Floor Area-4196 Sq.ft. | 1 dwg | No file | 3 jpegs | 2 Ft
26 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 1975 | PWD | 0 | 31 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 8830 | Ground Floor Area-8830 Sq.ft, First Floor Area-8416 Sq.ft | 1 dwg | No file | 10 jpegs | 1.5 Ft
27 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur ((New Building) | rajapur | 2012 | HED | 0 | 19 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 7265 | Ground Floor Area-7265 Sq.ft, First Floor Area-6331 Sq.ft | 1 dwg | No file | 8 jpegs | 2 Ft
28 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 1975 | PWD | 0 | 31 | 1 dwg, 1 pdf | 1 pdf | 1 dwg | 1 dwg | 8659 | Ground Floor Area-8659 Sq.ft, First Floor Area-8186 Sq.ft. | 1 dwg | No file | 9 jpegs | 2 Ft
29 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 1984 | PWD | 4.27 acre | 50 | 1 dwg | No file | No file | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 7 jpegs | 2 ft | na
30 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 2007 | HED | 6.98 acre | 50 | 2 dwgs | No file | No file | No file | 16560 | GF-16560.00, 1st.F-14362.00, 2nd.F-5619.00, 3rd.F-5619 | 2 dwgs | No file | 6 jpegs | 2 ft | na
31 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 2011 | HED | 5.95 acre | 50 | 1 dwg | No file | 1 jpeg | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 4 jpegs | 2 ft | na
32 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 2005 | HED | 6.15 acre | 50 | 1 dwg | No file | No file | No file | 14362 | GF-14362.00, 1st.F-14362.00, 2nd.F-5619.00 | 1 dwg | No file | 3 jpegs | 3 ft | na
33 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 2010 | HED | 5.90 acre | 50 | 1 dwg | No file | No file | No file | 21173 | GF-21173.00 sft, 1st.F-11288.00 sft | 1 dwg | No file | 4 jpegs | 2 ft | na
34 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 1980 | HED | 4 acre | 50 | 1 dwg | No file | No file | No file | 6710 | 6360 | 1 dwg | No file | No file | N/a | No
35 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 202 | HED | 5.44 acre | 50 | 1 dwg | No file | No file | No file | 3 | 0 | 1 dwg | No file | 8 jpegs | 3 ft | na

## Civil Related
SL No | Office | District Name | Name of the Hospital | Upazilla | Building Height (PL to Top in ft) | PL Height (EGL to PL in ft) | Existing Floor Number | Foundation Type | Foundation Capacity (floor number) | Structure Type | Structural Condition of Main Hospital Bldg (Describe) | Structural Assessment Report | Vertical Extension (possible or not-possible) | Previous Renovation History | Remarks (Additional Information)
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex (19 Bed Building) | agailjhara | 20.5 | 2 | 2 |  |  | RCC | Structural condition is good. Repair & rennovation is required. | No file | info not available | Unknown
2 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex (31 Bed Building) | agailjhara | 21 | 2 | 2 | Footing | 2 | Load Bearing Brick | Soncrete spalled out found and plaster stripped of. | No file | Not Possible | Unknown
3 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 36 | 2 | 3 |  | 4 | RCC | Structural condition is good. No structural damage has been found. found. | No file | Possible
4 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex (19 Bed Building) | bakerganj | 36 | 2.5 | 3 |  |  | RCC | Structural condition is good. No structural damage has been found. | No file | info not available | Unknown
5 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex (31 Bed Building) | bakerganj | 24 | 2 | 2 |  |  | Load Bearing Brick | Soncrete spalled out, reinforcement corrosion found and plaster stripped of. | No file | Not Possible
6 | Division - Barishal PWD Division | Barishal | Banarapara Upazilla Health Complex (19 Bed Building) | banaripara | 33 | 2 | 3 | Deep |  | RCC | Structural condition is good. No structural damage has been found. | No file | info not available | Unknown
7 | Division - Barishal PWD Division | Barishal | Banarapara Upazilla Health Complex (31 Bed Building | banaripara | 22 | 2 | 2 | Footing | 2 | Load Bearing Brick | Structural condition is not good. Structural damage has been found. | No file | Not Possible | Unknown
8 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex (19 Bed Building) | gournadi | 21.5 | 2 | 2 |  |  | RCC | Structural condition is good. No structural damage has been found. | No file | info not available | Unknown
9 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex (31 Bed Building) | gournadi | 22 | 2 | 2 |  |  | RCC | Concrete spalled out found and plaster stripped off. | No file | info not available | Unknown
10 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex (19 Bed Building) | hizla | 36 | 2.5 | 3 |  |  | RCC | Structural condition is not good. Structural damage has been found. | No file | Not Possible | Unknown
11 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex (31 Bed Building) | hizla | 22 | 2 | 2 | Footing |  | RCC | Structural condition is not good. Structural damage, cracks in beams and columns has been found. | No file | Not Possible | Unknown
12 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex (19 Bed Building) | mehendiganj | 25 | 2.5 | 2 |  |  | RCC | Structural condition is not good. Structural damage has been found. | No file | Not Possible | Unknown
13 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex (31 Bed Building) | mehendiganj | 35.5 | 2.5 | 3 |  |  | RCC | Structural condition is not good. Structural damage has been found. | No file | Not Possible | Unknown
14 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex (19 Bed Building) | muladi | 0 | 0 | 0 | Deep |  | RCC | Building is under construction. Upto short column has been completed. Construction work has been stopped for 2 years. | No file | info not available | N/A
15 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex (31 Bed Building) | muladi | 35 | 2 | 3 |  |  | RCC | Structural condition is not good. | No file | info not available | Unknown
16 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex (50 Bed Building) | wazirpur | 44 | 1.5 | 4 |  | 5 | RCC | Structural condition is good. No structural damage has been found. | No file | Not Possible | 1 year ago
17 | Division - Bhola PWD Division | Bhola | Borhanuddin Upazila Health complex | burhanuddin | 20 | 22 | 2 | Footing |  | RCC |  | No file | info not available | No
18 | Division - Bhola PWD Division | Bhola | Char_fasson Upazila Health complex | char_fasson | 20 | 22 | 2 | Footing |  | RCC |  | No file | info not available | No
19 | Division - Bhola PWD Division | Bhola | Daulatkhan Upazila Health complex | daulatkhan | 20 | 22 | 2 | Footing |  | RCC |  | No file | info not available | No
20 | Division - Bhola PWD Division | Bhola | Lalmohan Health Complex | lalmohan | 21 | 24 | 2 | Footing |  | RCC | Structural Integrity: There are no visible cracks on Column, beam , Deformation & Distress: There is no tilting and other deformation. | No file | info not available | There is no previous renovation history
21 | Division - Bhola PWD Division | Bhola | Manpura health Complex | manpura | 20 | 22 | 2 | Footing |  | RCC |  | No file | info not available | No
22 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Tajumuddin | tazumuddin | 20 | 22 | 2 | Footing |  | RCC |  | No file | info not available | No
23 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex (New Building) | nalchity | 43 | 2 | 3 | Deep | 3 | RCC | New Building: Good Condition | No file | Possible | No
24 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 33 | 2 | 3 | Deep | 3 | RCC | Structural Condition : Good | No file | Possible | No
25 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 32 | 1.5 | 2 | Footing | 2 | Load Bearing Brick | Old Building : Not Good | No file | Not Possible | No
26 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 32 | 2 | 2 | Deep | 2 | RCC | New Building: Good, | No file | Possible | No
27 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 30 | 1.5 | 2 | Footing | 2 | Load Bearing Brick | Old Building : Not Good | No file | Not Possible | No
28 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 11 | 2 | 2 | Footing | 2 | RCC | Since the building was built a long time ago, no upward extension can be done | 2 jpegs | Not Possible | na | na
29 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 11 | 2 | 4 | Deep | 4 | RCC | well | 2 jpegs | info not available | na | na
30 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 11 | 2 | 2 | Deep | 4 | RCC | Good | 2 jpegs | Possible | Regular | na
31 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 11 | 2 | 3 | Deep | 4 | RCC | Since the building was built a long time ago, no upward extension can be done | 5 jpegs | Possible | na | na
32 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 11 | 2 | 2 | Footing | 4 | RCC | Since the building was built a long time ago, no upward extension can be done | 5 jpegs | Not Possible | na | na
33 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 12 | 3 | 4 | Deep | 4 | RCC | Good | No file | Not Possible | N/A | N/A
34 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 12 | 3 | 3 | Deep | 4 | RCC | well | 4 jpegs | Possible | na | na

## Water Supply and Sanitation
SL No | Office | District Name | Name of the Hospital | Upazilla | Capacity of Existing UGWR (gal) | Number of Deep Tubewell | Additional Water Supply Facility (Describe) | Sewage or Waste Management Facility | Capacity of Sewerage or waste management (cft) | Presence of Rainwater Harvesting Facility | Capacity of Rain Water Harvesting (gal) | Existing Drainage Facility (Describe) | Required Drainage Facility (Describe) | Nearest Waste & Water Disposal Location (Describe) | Remarks (Any other issues will be Described here)
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara |  | 1 | No | Septic Tank |  | No |  | Surface drain available | Surface drain and master drain required | Nearby canal
2 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 0 | 1 | No | Septic Tank |  | No |  | Surface drain available | Master drain required | Nearby river
3 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex | bakerganj | 0 | 1 | No | Septic Tank |  | No |  | Surface drain available | Surface drain and master drain required | Nearby river
4 | Division - Barishal PWD Division | Barishal | Banarapara Upazilla Health Complex | banaripara |  | 1 | No | Septic Tank |  | No |  | Surface drain available | Surface drain and master drain required | Nearby canal
5 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 0 | 1 | No | Septic Tank |  | No | 0 | Surface drain available | Surface drain and master drain required | Nearby canal (500 ft away)
6 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla |  | 1 | No | Septic Tank |  | No |  | Surface drain available | Surface drain and master drain required | Nearby canal
7 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | 0 | 2 | No | Septic Tank |  | No | 0 | Surface drain available | Surface drain and master drain required | Nearby canal (200 ft away)
8 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | 0 | 1 | No | Septic Tank |  | No |  | Surface drain available | Surface drain and master drain required | Nearby river
9 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | 0 | 1 | No | Septic Tank |  | No | 0 | Surface drain available | Master drain required | Nearby canal (360 ft away)
10 | Division - Bhola PWD Division | Bhola | Borhanuddin Upazila Health complex | burhanuddin |  | 4 | NO | Septic Tank |  | No
11 | Division - Bhola PWD Division | Bhola | Char_fassion Upazila health complex | char_fasson |  | 6 |  | Septic Tank |  | No |  | Low depth drainage system
12 | Division - Bhola PWD Division | Bhola | Daulatkhan Upazila Health complex | daulatkhan |  | 4 |  | Septic Tank |  | No
13 | Division - Bhola PWD Division | Bhola | Lalmohan Health Complex | lalmohan | 2000 | 6 | There are no additional water supply facilities available in this hospital | Septic Tank | 5500 | No |  |  | High quality drainage facilities are required | Waste water transfers direct to nearest canal
14 | Division - Bhola PWD Division | Bhola | Manpura health Complex | manpura |  | 3 | NO | Septic Tank |  | No
15 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Tajumuddin | tazumuddin |  | 4 | NO | Septic Tank |  | No
16 | Division - Jhalakathi PWD Division | Jhalokathi | Nalchity Upazila Health Complex, Nalchity. (New Building) | nalchity | 0 | 0 | No | Others |  | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 1 | No | Septic Tank | 0 | No | 0 | Master drain connect with adjacent river | No | Inside hospital compound
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 1 | No | Others | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
19 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | No | Others | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
20 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 1 | No | Septic Tank | 0 | No | 0 | Master drain connect with adjacent khal | No | Inside hospital compound
21 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 0 | 1 | no | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 0 | 1 | Pond | Others | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 1 | Pond | Others | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 10000 | 1 | pond | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 0 | 1 | no | Septic Tank | 0 | No | 0 | Surface Drain | Rcc Master Drain | Govt. land | na
26 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 0 | 1 | N/A | Septic Tank |  | Yes | 0 | Surface Drain | Rcc Master Drain | Govt Land to Shimonto River
27 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 30000 | 1 | 0 | Others | 0 | No | 0 | 0 | 0 | 0 | 0

## Ancillary Civil Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Existing boundary wall with retaining wall (ft) | Existing boundary wall without retaining wall (ft) | Additionally Required boundary wall with retaining wall (ft) | Additionally Required boundary wall without retaining wall (ft) | Width of The Main Road (Municipality or City Corp) In front of Hospital (ft) | Internal Road Scenario (Describe) | Existence of Link Corridor | Requirement of Site Improvement | Remarks (additional information)
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara |  | 2600 | 1000 |  | 24 | 8 ft, 12 ft and 10 ft width rcc road. | Yes | Yes | Bounadary wall repair required.
2 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 262 | 2368 | 262 |  | 20 | 10 ft width rcc road. | Yes | Yes | Bounadary wall repair required.
3 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex (31 Bed Building) | bakerganj |  | 1560 | 500 |  | 12 | 9 ft width rcc road. | Yes | Yes | Bounadary wall repair required.
4 | Division - Barishal PWD Division | Barishal | Banaripara Upazilla Health Complex | banaripara |  | 2200 | 200 |  | 12 | 10 ft width rcc road. | Yes | Yes | Bounadary wall repair required.
5 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 0 | 1700 |  |  | 16 | 8 ft, 12 ft and 10 ft width rcc road. | Yes | Yes | Boundary wall height is not sufficient. Vertical extension required.
6 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla |  | 1817 | 160 |  | 18 | 10 & 12 ft RCC road | Yes | Yes | Bounadary wall repair required.
7 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj |  | 2115 | 1000 |  | 16 | 10 ft width rcc road. | Yes | Yes | Bounadary wall repair required.
8 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | 0 | 2345 | 750 | 250 | 14 | 8 ft width rcc road. | No | Yes | Bounadary wall repair required.
9 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | 0 | 1998 | 320 | 0 | 13 | 13 ft width rcc road. | No | Yes | Bounadary wall repair required.
10 | Division - Bhola PWD Division | Bhola | Lalmohan Health Complex | lalmohan |  | 2500 | 400 | 400 | 16 | Internal Road of the hospital prepared with rigid pavement. The condition of the road is not so vulnerable but further repair is necessary | Yes | Yes
11 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Burhanuddin, Bhola | burhanuddin |  | 1933 |  | 450 | 16 | Internal Road of the hospital prepared with rigid pavement. The condition of the road is not so vulnerable but further repair is necessary | No | Yes
12 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Charfashion, Bhola | char_fasson | 500 | 1250 |  | 400 | 15 | The Existing Internal is Bad condition | Yes | Yes
13 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Daulatkhan, Bhola | daulatkhan | 250 | 1260 |  | 500 | 15 | The Existing Internal is Bad condition | Yes | Yes
14 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Manpura, Bhola | manpura |  | 11210 |  | 450 | 15 | The Existing Internal is Bad condition | No | Yes
15 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Tajumuddin | tazumuddin |  | 1500 |  |  | 20 | Link road needed | Yes | Yes
16 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 2109 | 0 | 0 | 10 | RCC Road ,Wide-8 ft, Length-946 ft. | No | No
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 0 | 0 | 0 | 0 | 0 |  | Yes | No
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 2697 | 0 | 0 | 15 | RCC Road ,Wide-8 ft, Length-1450 ft. | Yes | Yes
19 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | 0 | 0 | 0 |  | Yes | No
20 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 1948 | 0 | 0 | 30 | RCC Road ,Wide-8 ft, Length-1593 ft. | Yes | Yes
21 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 285 | 1360 | 357 | 113 | 12 | 12 | No | Yes | na
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 210 | 1861 | 160 | 330 | 20 | Rcc | Yes | Yes | na
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 301 | 2613 | 313 | 87 | 16 | Rcc, Carpeting, 12 rft wide | Yes | Yes | na
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 250 | 1384 | 256 | 319 | 16 | 12 | Yes | Yes | na
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 490 | 561 | 351 | 284 | 16 | 12 | No | Yes | na
26 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 225 | 300 | 280 | 239.98 | 16 | 12 | Yes | Yes | No
27 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 225 | 300 | 280 | 2238 | 16 | 12 | Yes | Yes | na

## Electromechanical Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Present Number of Lift | Number of Usable Lift (if present) | Lift Related Additional Info (If any) | Present AC Capacity (Ton) | Additional AC Requirement (Ton) | AC Related Additional Info (If any) | Present Situation of Fire Detection and Protection System | Present Total HP of Submersible Pump | Present Total HP of Centrifugal Pump | Pump Related Additional Info (Demand, Repair need etc) | Medical Waste Management System | Medical Waste Related Additional info (Capacity, Demand etc)
1 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Agailjhara | agailjhara | 0 | 0 | N/A | 7.5 | 16 | N/A | Fire Extinguisher-3 Nos | 3 | 0 | N/A | Not Present | Minimum 20kg/hr capacity needed
2 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Babugonj | babuganj | 0 | 0 | N/A | 7.5 | 14 | N/A | Fire Extinguisher-2 Nos | 1 | 0 | 3 HP Needed | Not Present | Minimum 20kg/hr capacity needed
3 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Banaripara | banaripara | 0 | 0 | N/A | 13 | 16 | N/A | Fire Extinguisher-10 Nos | 5.49 | 0 | N/A | Not Present | Minimum 20kg/hr capacity needed
4 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Gournadi | gournadi | 0 | 0 | N/A | 18 | 10 | N/A | Fire Extinguisher-10 Nos | 5.5 | 0 | N/A | Not Present | Minimum 20kg/hr capacity needed
5 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Wazirpur | wazirpur | 0 | 0 | N/A | 7.5 | 16 | N/A | Fire Extinguisher-2 Nos | 3 |  | N/A | Not Present | Minimum 20kg/hr capacity needed
6 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Bakergang | bakerganj | 0 | 0 |  | 7.5 | 14 |  | N/A | 3 | 0 |  | Not Present
7 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Hijla | hizla | 0 | 0 |  | 6 | 16 |  | Fire Extinguisher | 4 | 0 |  | Not Present
8 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Mehendigang | mehendiganj | 0 | 0 |  | 8 | 14 |  | Fire Extinguisher | 3 | 0 |  | Not Present
9 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Muladi | muladi | 0 | 0 |  | 10.5 | 10 |  | Fire Extinguisher | 3 | 0 |  | Not Present | Minimum 20 kg/hr capacity needed.
10 | Division - Bhola PWD Division | Bhola | Borhanuddin Health Complex | burhanuddin | 0 | 0 | need lift | 15 | 10 | AC needed | Expired | 5 | 2 | Pump motor needed | Not Present | urgently needed.
11 | Division - Bhola PWD Division | Bhola | Charfession Health Complex | char_fasson | 0 | 0 | need lift | 17 | 10 | AC needed | non functional | 10 | 15 | demand 12hp, existing pump repair needed. | Not Present | urgently needed.
12 | Division - Bhola PWD Division | Bhola | Daulatkhan Health Complex | daulatkhan | 0 | 0 | need lift | 10 | 10 | AC needed | Expired | 5 | 2 | demand 10hp, existing pump repair needed. | Not Present | urgently needed.
13 | Division - Bhola PWD Division | Bhola | lalmohon health complex | lalmohan | 0 | 0 | na | 10 | 20 | na | non functional | 10 | 7.5 | demand 10hp, existing pump repair needed. | Not Present | urgently needed.
14 | Division - Bhola PWD Division | Bhola | Manpura Health Complex | manpura | 0 | 0 | na | 0 | 0 | 10 | Expired | 3 | 1 | Pump motor needed | Not Present | urgently needed.
15 | Division - Bhola PWD Division | Bhola | Tazumuddin Health Complex | tazumuddin | 0 | 0 | need lift | 15.5 | 20 | AC needed | Expired | 7.5 | 15 | demand 12hp, existing pump repair needed. | Not Present | urgently needed.
16 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | 0 | 0 | No | 10 | 10 | No | No | 2 | 0 | No | Not Present | No
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | 0 | 0 | No | 10 | 10 | No | No | 0 | 0 | No | Others | No
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | 0 | 0 | No | 12 | 10 | No | No | 3 | 0 | No | Others | No
19 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | 0 | 0 | No | 10 | 6 | No | No | 0 | 0 | No | Others | No
20 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | 0 | 0 | No | 20 | 25 | No | No | 3 | 0 | No | Others | No
21 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | 0 | 0 | 0 | 4 | 24 | Ceiling Fan | no | 1 | 0 | Submersible pump with Deep tube well | Not Present | na
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | 0 | 0 | Stair, Ramp | 8 | 22 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Not Present | na
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 0 | Stair, Ramp | 2 | 16 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Others | na
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | 0 | 0 | 0 | 8 | 30 | Ceiling Fan | no | 1 | 1 | Submersible pump with Deep tube well | Others | na
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | 0 | 0 | 0 | 4 | 22 | Ceiling Fan | no | 1 | 0 | Submersible pump with Deep tube well | Not Present | na
26 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | 0 | 0 | Use Link Corridor in lieu of Lift | 4 | 10 | Use Ceiling Fan | at present several number of fire extinguisher | 2 | 1 | Submersible pump with deep tubewell | Not Present | no
27 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not Present | na

## External Electrification
SL No | Office | District Name | Name of the Hospital | Upazilla | Connection Provider | Can Provider Provide Apprx 1250 kVA Load? | Existing Actual Usage of Power or Load (kVA) | Present Total KVA Capacity of Substation | Reusable KVA of substation | Situation of Substation Components (LT HT PFI MDB etc) | Existing Total KVA Capacity of Generator | Additional Requirement of Generator (KVA) | Present Usable Capacity of on grid solar (kWp) | Present Capacity of Ring Main Unit (number of out going connection) | Detailed Description of incoming Service Cable (RM, Type and Length of HT or LT) | Detailed Description of Service Cable (RM and Length for FDB, MDB, ELT, NLT etc) | Remarks (Provide any additional information here)
1 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Agailjhara | agailjhara | REB | Yes | 56 | 0 | 0 | Only MDB | 30 | 30 | 0 | 0 | 1c-4*35Sqmm(NYY)
2 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Babugonj | babuganj | REB | Yes | 56 | 100 | 44 | Only MDB | 0 | 60 | 0 | 0 | 1c-4*35Sqmm(NYY)
3 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Banaripara | banaripara | REB | Yes | 56 | 100 |  | Only MDB | 0 | 60 | 0 | 0 | 1c-4*35Sqmm(NYY)
4 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Gournadi | gournadi | REB | Yes | 56 | 100 | 44 | Only MDB | 0 | 60 | 0 | 0 | 1c-4*35Sqmm(NYY)
5 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Wazirpur | wazirpur | REB | Yes | 56 | 0 |  | Only MDB | 0 | 60 | 0 | 0 | 1c-4*35Sqmm(NYY)
6 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Bakergang | bakerganj | REB | Yes | 50 | 0 | 0 | MDB | 30 | 30 | 0 | 0 | 1c-4*35Sqmm(NYY)
7 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Hijla | hizla | REB | Yes | 50 | 0 | 0 | MDB | 30 | 30 | 0 | 0 | 1c-4*35Sqmm(NYY)
8 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Mehendigang | mehendiganj | REB | Yes | 50 | 0 | 0 | MDB | 30 | 30 | 0 | 0 | 1c-4*35Sqmm(NYY)
9 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Muladi | muladi | REB | Yes | 50 | 0 | 0 | MDB | 30 | 30 | 0 | 0 | 1c-4*35Sqmm(NYY)
10 | Division - Bhola PWD Division | Bhola | Borhanuddin Health Complex | burhanuddin | REB | Yes | 200 | 200 | 180 | pole mounted | 5 | 20 | 15 | 4 | 35, nyy,10,6,4,2.5,1.5. bym,bya. | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
11 | Division - Bhola PWD Division | Bhola | Charfession Health Complex | char_fasson | REB | Yes | 250 | 250 | 100 | need servicing and maintenance | 20 | 50 | 20 | 6 | 70 rm, 50 metr length. | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
12 | Division - Bhola PWD Division | Bhola | Daulatkhan Health Complex | daulatkhan | REB | No | 250 | 150 | 100 | need servicing and maintenance | 10 | 20 | 20 | 3 | 35, nyy,10,6,4,2.5,1.5. bym,bya. | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
13 | Division - Bhola PWD Division | Bhola | lalmohon health complex | lalmohan | REB | Yes | 150 | 250 | 50 | need servicing and maintenance | 20 | 50 | 20 | 4 | 70 rm, 50 metr length | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
14 | Division - Bhola PWD Division | Bhola | Manpura Health Complex | manpura | WZPDCL | No | 100 | 100 | 50 | na | 10 | 50 | 10 | 2 | na | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
15 | Division - Bhola PWD Division | Bhola | Tazumuddin Health Complex | tazumuddin | REB | Yes | 250 | 100 | 100 | pole mounted | 5 | 20 | 20 | 4 | 35, nyy,10,6,4,2.5,1.5. bym,bya. | cables need to change/replace. 10,6,4,2.5,1.5 rm cable are existing. | na
16 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | PDB | No | 12 | 0 | 0 | No | 0 | 5 | 0 | 0 | No | No
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | REB | Yes | 20 | 0 | 0 | No | 0 | 5 | 0 | 0 | No | No
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | REB | Yes | 20 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
19 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | REB | Yes | 15 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
20 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | REB | Yes | 30 | 0 | 0 | No | 0 | 10 | 0 | 0 | No | No
21 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-37 rft | 4rm, Length-417 rft | NA
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | REB | Yes | 220 | 250 | 30 | LT | 10 | 30 | 0 | 1 | 10rm, HT Length-92 rft | 4rm, Length-197 rft | NA
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | REB | Yes | 100 | 150 | 50 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-107 rft | 4rm, Length-121 rft | NA
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | REB | Yes | 150 | 150 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-107 rft | 4rm, Length-227 rft | NA
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-67 rft | 4rm, Length-220 rft | NA
26 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | REB | Yes | 100 | 100 | 0 | LT | 0 | 30 | 0 | 0 | 10rm, HT Length-67 rft | 4rm, Length-161 rft | N/A
27 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | REB | No | 0 | 0 | 0 | LT | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Ancillary EM Items
SL No | Office | District Name | Name of the Hospital | Upazilla | Presence of Medical Gas System | Capacity of Medical Gas Plant if any (LPM) | Number of bed having Medical Gas Facility if any (nos) | Medical Gas Related Additional Info (describe) | Presence of Compound and Security Light | Presence of Sound and PA System | Presence of computer networks | Presence of PABX System | Presence of CCTV system | Number of Neon Poly sign board | Requirement of any ancillary items (Describe in detail) | Remarks (For any Additional Information)
1 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Agailjhara | agailjhara | No | 0 | 30 | Cylinder O2-15 Nos | Yes | No | No | No | Yes | 0
2 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Babugonj | babuganj | No | 0 | 30 | Cylinder O2-25 Nos | Yes | No | No | No | Yes | 0 | N/A
3 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Banaripara | banaripara | No | 0 | 30 | Cylinder O2-15 Nos | Yes | No | No | No | No | 0 | N/A
4 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Gournadi | gournadi | No | 0 | 30 | Cylinder O2-12 Nos | Yes | No | No | No | No | 0 | N/A
5 | Division - Barishal PWD Division | Barishal | Upazila Health Complex,Wazirpur | wazirpur | No | 0 | 30 | Cylinder O2-16 Nos | Yes | No | No | No | Yes | 0 | N/A
6 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Bakergang | bakerganj | Yes | 0 | 50 |  | Yes | No | No | No | No | 0
7 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Hizla | hizla | Yes | 0 | 50 |  | Yes | No | No | No | No | 0
8 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Mehendigang | mehendiganj | Yes | 0 | 50 |  | Yes | No | No | No | No | 0
9 | Division - Barishal PWD Division | Barishal | Upzila Health Complex , Muladi | muladi | Yes | 0 | 50 |  | Yes | No | No | No | No | 0
10 | Division - Bhola PWD Division | Bhola | Borhanuddin Health Complex | burhanuddin | Yes | 1 | 1 | only oxygen,malfunctioned. | Yes | No | No | No | Yes | 1 | yes | na
11 | Division - Bhola PWD Division | Bhola | Charfession Health Complex | char_fasson | Yes | 50 | 80 | except oxygen, others malfunctioned. | Yes | No | No | No | Yes | 2 | yes | na
12 | Division - Bhola PWD Division | Bhola | Daulatkhan Health Complex | daulatkhan | No | 0 | 0 | 0 | Yes | No | No | No | Yes | 1 | yes | na
13 | Division - Bhola PWD Division | Bhola | lalmohon health complex | lalmohan |  |  |  |  | No | No | No | No | No | 1 | yes | na
14 | Division - Bhola PWD Division | Bhola | Manpura Health Complex | manpura | No | 10 | 10 | 0 | No | No | No | No | Yes | 1 | yes | na
15 | Division - Bhola PWD Division | Bhola | Tazumuddin Health Complex | tazumuddin | Yes | 50 | 50 | only oxygen,malfunctioned. | Yes | No | No | No | Yes | 1 | yes | na
16 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia (New Building) | kathalia | Yes | 0 | 10 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
17 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (New Building) | nalchity | Yes | 0 | 0 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
18 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity (Old Building) | nalchity | Yes | 0 | 8 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 20 pcs
19 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (New Building) | rajapur | Yes | 0 | 11 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 10 pcs
20 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur (Old Building) | rajapur | Yes | 0 | 9 | No | Yes | No | Yes | No | Yes | 1 | Need Fire Extinguisher - 20 pcs
21 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
22 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | Yes | 1 | NA | NA
23 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
24 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
25 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | NA | NA
26 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | No | 0 | 0 | oxygen cylinder | Yes | No | No | No | No | 1 | 0 | na
27 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | No | 0 | 0 | 0 | No | No | No | No | No | 0 | 0 | 0

## Other Buildings
SL No | Office | District Name | Name of the Hospital | Upazilla | Building Name | Building No (if any) | Year of Construction | Number of Floors | Plinth Area (sqft) | Total Floor Area (sqft) | Current Condition (Describe) | Floor Plan (if any) | Visual Evidence (Image and Video) | Remarks (Additional Information)
1 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | RTC Hostel Building |  |  | 4 | 3786 | 15144 | Good. | No file | No file
2 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | RTC Academic Building |  |  | 2 | 3162 | 6324 | Good | No file | No file
3 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Pump House |  |  | 1 | 160 | 160 | Abandoned | No file | No file
4 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Garrage |  |  | 1 | 1480 | 1480 | Should be demolished | No file | No file
5 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Mosque |  |  | 1 | 2560 | 2560 | Good. | No file | No file
6 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | EPI Centre |  |  | 1 | 700 | 700 | Usable but need to be repaired. | No file | No file
7 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Training Centre |  | 2000 | 1 | 1485 | 1485 | Usable but need to be repaired. | No file | No file
8 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Family Planning Building |  | 2020 | 2 | 1911 | 3822 | Good. | No file | No file
9 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | 4th Class Quarter |  | 1974 | 1 | 1250 | 1250 | Abandoned. Need be condemned and demolished. | No file | No file
10 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | 3rd class quarter |  | 1974 | 2 | 2503 | 5006 | Abandoned. Need be condemned and demolished. | No file | No file
11 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Nurses Dormitory |  | 1974 | 1 | 1858 | 1858 | Abandoned. Need be condemned and demolished. | No file | No file
12 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | 2nd Class Quarter |  | 2000 | 2 | 1216 | 2432 | Usable but need to be repaired. | No file | No file
13 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Doctors Quarter |  | 1974 | 2 | 2800 | 5600 | Abandoned. Need be condemned and demolished. | No file | No file
14 | Division - Barishal PWD Division | Barishal | Agailjhara Upazilla Health Complex | agailjhara | Doctors dormitory |  | 2000 | 1 | 2365 | 2365 | Usable but need to be repaired. | No file | No file
15 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Family Planning Building |  | 2017 | 2 | 1989 | 3802 | Good. | No file | No file
16 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | UHFPO Quarter |  | 1963 | 1 | 2107 | 2107 | Repairable. | No file | No file
17 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | RMO Quarter |  | 1963 | 1 | 1545 | 1545 | Repairable. | No file | No file
18 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Doctors Quarter |  | 1963 | 4 | 2360 | 9440 | Should be condemned and demolished | No file | No file
19 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Unknown |  | 1963 | 1 | 1491 | 1491 | Repairable. | No file | No file
20 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 3rd class quarter (6 unit) |  | 1963 | 1 | 2796 | 2796 | Should be condemned and demolished | No file | No file
21 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 3rd class quarter |  | 1963 | 1 | 1524 | 1524 | Should be demolished | No file | No file
22 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Damaged Building |  | 1963 | 1 | 255 | 255 | Should be demolished | No file | No file
23 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Unknown | 2 | 1963 | 1 | 2198 | 2198 | Repairable. | No file | No file
24 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | EPI Store |  | 1963 | 1 | 650 | 650 | Repairable. | No file | No file
25 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Unknown |  | 1963 | 1 | 525 | 525 | Should be repaired | No file | No file
26 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Kitchen Building |  | 1963 | 1 | 607 | 607 | Should be repaired | No file | No file
27 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | 4th class employee quarter |  | 1963 | 2 | 1219 | 2438 | Should be repaired | No file | No file
28 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Pump House |  | 1963 | 1 | 361 | 1 | Should be repaired | No file | No file
29 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Damaged Building-2 |  | 1963 | 1 | 252 | 252 | Should be condemned and demolished | No file | No file
30 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Damaged Building |  | 1963 | 1 | 2013 | 2013 | Should be condemned and demolished | No file | No file
31 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Conference Building |  | 1963 | 1 | 2182 | 2182 | Should be condemned and demolished | No file | No file
32 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Garrage-2 |  | 1963 | 1 | 266 | 266 | Should be demolished | No file | No file
33 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Nurses Quarter |  | 1963 | 3 | 832 | 2496 | Should be demolished | No file | No file
34 | Division - Barishal PWD Division | Barishal | Babuganj Upazilla Health Complex | babuganj | Garrage |  | 1963 | 1 | 443 | 443 | Should be demolished | No file | No file
35 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex | bakerganj | Doctors Quarter | 2 |  | 2 | 1795 | 3590 | Usable but need to be repaired. | No file | No file
36 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex | bakerganj | Family Planning Building |  |  | 2 | 1681 | 3362 | Good. | No file | No file
37 | Division - Barishal PWD Division | Barishal | Bakerganj Upazilla Health Complex ) | bakerganj | Doctors Quarter |  |  | 2 | 1809 | 3618 | Usable but need to be repaired. | No file | No file
38 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Pump House |  |  | 1 | 180 | 180 | Need to be condemned and demolished | No file | 1 jpeg
39 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Garrage |  |  |  | 850 | 850 | Repairable. | No file | No file
40 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Mosque |  |  | 1 | 875 | 875 | Repairable. | No file | No file
41 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | EPI Centre |  |  | 1 | 660 | 660 | Repairable. | No file | No file
42 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Training Centre |  | 1990 | 1 | 1880 | 1880 | Need to be condemned and demolished | No file | 1 jpeg
43 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Family Planning Building |  | 2009 | 2 | 1575 | 3150 | Good. | No file | No file
44 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 4th class employee quarter |  | 1989 | 2 | 1170 | 2340 | Need to be condemned and demolished | No file | 1 jpeg
45 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 3rd class quarter |  | 1989 | 4 | 1520 | 6080 | Repairable. | No file | No file
46 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Nurses Dormitory |  | 1989 | 1 | 815 | 815 | Abandoned | No file | 1 jpeg
47 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 2nd class quarter |  | 2006 | 2 | 1780 | 3560 | Good. | No file | 1 jpeg
48 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | 1st class doctor's quarter |  | 1989 | 3 | 2400 | 7200 | Repairable. | No file | No file
49 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | Doctors dormitory |  | 1989 | 1 | 2100 | 2100 | Need be condemned and demolished | No file | 1 jpeg
50 | Division - Barishal PWD Division | Barishal | Gournadi Upazilla Health Complex | gournadi | UHFPO Quarter |  | 1989 | 1 | 1100 | 1100 | abandoned | No file | 1 jpeg | Abandoned
51 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | Family Planning Building |  |  | 2 | 1606 | 3212 | Good. | No file | No file
52 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | 3rd class quarter |  |  | 2 | 1865 | 3730 | Need be condemned and demolished | No file | No file
53 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | 4th class employee quarter | 3 |  | 2 | 2924 | 5848 | Should be condemned and demolished | No file | No file
54 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | 4th class employee quarter | 2 |  | 2 | 1519 | 3038 | Need be condemned and demolished | No file | No file
55 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | 4th class employee quarter |  |  | 2 | 1329 | 2658 | Need be condemned and demolished | No file | No file
56 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | Nurses Dormitory |  |  | 2 | 1989 | 3978 | Usable but need to be repaired. | No file | No file
57 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | Doctors Quarter | 2 |  | 3 | 2301 | 6903 | Should be condemned and demolished. | No file | No file
58 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | Doctors Quarter |  |  | 2 | 2441 | 4882 | Usable but need to be repaired. | No file | No file
59 | Division - Barishal PWD Division | Barishal | Hizla Upazilla Health Complex | hizla | Mosque |  |  | 1 | 1966 | 1966 | Good. | No file | No file
60 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | 4th class quarter |  |  | 2 | 2552 | 5104 | Need be condemned and demolished | No file | No file
61 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | 2nd class quarter |  |  | 2 | 1921 | 3842 | Good. | No file | No file
62 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | Nurses Quarter |  |  | 2 | 1995 | 3990 | Need be condemned and demolished | No file | No file
63 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | Doctors Quarter | 2 |  | 2 | 2412 | 4824 | Need be condemned and demolished | No file | No file
64 | Division - Barishal PWD Division | Barishal | Mehendiganj Upazilla Health Complex | mehendiganj | Doctors Quarter |  |  | 3 | 2824 | 8472 | Need be condemned and demolished | No file | No file
65 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | UHFPO Quarter |  |  | 1 | 1122 | 1122 | Need be condemned and demolished | No file | No file
66 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | Doctors Quarter |  |  | 2 | 2381 | 4762 | Usable but need to be repaired. | No file | No file
67 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | 3rd and 4th class employee quarter |  |  | 2 | 1330 | 2660 | usable but need to be repaired. | No file | No file
68 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | 4th class employee quarter |  |  | 2 | 1541 | 3082 | usable but need to be repaired. | No file | No file
69 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | Night Guard Quarter |  |  | 1 | 345 | 345 | Not good. Regular maintenance is required. | No file | No file
70 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | Damaged Building |  |  | 1 | 3156 | 3156 | Need be condemned and demolished | No file | No file
71 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | EPI Building |  |  | 1 | 598 | 598 | Not good. Regular maintenance is required. | No file | No file
72 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | Nurses Dormitory |  |  | 1 | 1146 | 1146 | Not good. Regular maintenance is required. | No file | No file
73 | Division - Barishal PWD Division | Barishal | Muladi Upazilla Health Complex | muladi | Mosque |  |  | 1 | 738 | 738 | Regular maintenance is required. | No file | No file
74 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | 3rd class quarter |  |  | 2 | 1282 | 2564 | Good. | No file | No file
75 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | 2nd class Quarter |  |  | 2 | 1376 | 2752 | Good and repairable | No file | No file
76 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | 2nd Class Quarter |  |  | 2 | 1779 | 3558 | Good. | No file | No file
77 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | Doctor's Quarter |  |  | 2 | 2382 | 4764 | Good. | No file | No file
78 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | Family Planning Building |  |  | 3 | 1600 | 4800 | Good. | No file | No file
79 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | Nurses Dormitory |  |  | 1 | 1450 | 1450 | Good. | No file | No file
80 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | Sadar Clinic |  |  | 2 | 947 | 1894 | Good. | No file | No file
81 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | Auditorium |  |  | 1 | 2108 | 2108 | Need to demolish | No file | No file
82 | Division - Barishal PWD Division | Barishal | Wazirpur Upazilla Health Complex | wazirpur | EPI Building |  |  | 4 | 662 | 2650 | Repairable. | No file | No file
83 | Division - Bhola PWD Division | Bhola | Lalmohan Health Complex | lalmohan | Old Hospital Building | 1 | 1984 | 2 | 12650 | 10750 | Currently used as the main hospital building | No file | 1 jpeg
84 | Division - Bhola PWD Division | Bhola | Upazila Health Complex, Burhanuddin, Bhola | burhanuddin | Old Hospital Building | 1 |  | 2 |  |  |  | No file | 1 jpeg
85 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Kathalia | kathalia | 1 | [6 empty] | No file | No file
86 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Nalchity | nalchity | Upazilla Health Complex, Nalchity | 2 | 2012 | 3 |  |  |  | No file | No file
87 | Division - Jhalakathi PWD Division | Jhalokathi | Upazilla Health Complex, Rajapur | rajapur | 1 | [6 empty] | No file | No file
88 | Division - Patuakhali PWD Division | Patuakhali | 31 Bedded Upazila Health Complex, Dumki. | dumki | NA | na | 2015 | 0 | 0 | 0 | well | 3 jpegs | 4 jpegs | na
89 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Bauphal | bauphal | NA | na | 1993 | 0 | 0 | 0 | Repair and renovation are not eligible | 4 jpegs | 7 jpegs | na
90 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | Pump House | 1 | 1984 | 1 | 240 | 240 | Repair and renovation are not eligible | No file | No file | na
91 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | Oxigen room | 1 | 1984 | 1 | 242 | 242 | Repair and renovation are not eligible | No file | No file | na
92 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | 0 | 0 | 2017 | 0 | 0 | 0 | Repair and renovation are not eligible | 3 jpegs | 5 jpegs | na
93 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Dashmina | dashmina | NA | na | 2017 | 0 | 0 | 0 | well | 4 jpegs | 4 jpegs | na
94 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Galachipa. | galachipa | NA | na | 1994 | 0 | 0 | 0 | 0 | 5 jpegs | 5 jpegs | na
95 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Kalapara. | kalapara | NA | 13 | 1994 | 2 | 0 | 0 | 0 | 2 jpegs | 7 jpegs | na
96 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Mirzaganj. | mirzaganj | Upazila Model Mosque | 1 | 2023 | 3 | 11500 | 20000 | Structure works Done as well as Finishing Works on going | No file | No file | na
97 | Division - Patuakhali PWD Division | Patuakhali | 50 Bedded Upazila Health Complex, Rangabali. | rangabali | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 1 jpeg | 6 jpegs | na